## Sheet1
Meter | IP Address
Incoming Electrical Service | 172.19.7.21
TX1 Panel A | 172.19.7.22
TX3 Panel B | 172.19.7.23
Exterior Lighting | 172.19.7.24
Vehicle Charger 1 | 172.19.7.25
Vehicle Charger 2 | 172.19.7.26
Panel C1 Lighting | 172.19.7.27
Panel C2 Lighting | 172.19.7.28
Panel C3 DHW | 172.19.7.29
Panel C4 Pumps | 172.19.7.30
Natures Classroom | 172.19.7.31
Solar PV System Output | 172.19.7.32
Ceiling Fans | 172.19.7.33
Exhaust Fans | 172.19.7.34
HRV | 172.19.7.35
ERV | 172.19.7.36
FC1 | 172.19.7.37
Cistern System CT | 172.19.7.38
OU1 | 172.19.7.39
Balancing Pump | 172.19.7.40
Biofilter Pump | 172.19.7.41
Duct Heater DH2 ERV | 172.19.7.42
Duct Heater Dh1 HRV | 172.19.7.43
Av Security UV | 172.19.7.44

## Sheet2
AcquiLite A7810-0 * Obvius * N/A | Administrative Centre |  | No
Acquisuite A8812-0 * Obvius * N/A | EMS Headquarters |  | No
CM4000 * Schneider * Incoming Hydro Service | T&W Operations Centre |  | No
CM4000 * Schneider * Main Electrical Service | YRT South West Maintenance Facility |  | No
EM4880 * Schneider * Submetered Electrical Loads | EMS Headquarters |  | No
EM4880 * Schneider * Submetered Electrical Loads | EMS Headquarters |  | No
ION 7550 * Schneider * Main Electrical Service | EMS Headquarters |  | No
NetMeter 3P-600 * z3 Controls * AV A-12/ Security A-21 / UV A-53 | Forest Stewardship and Education Centre | AV A-12/ Security A-21 / UV A-53 | Yes | NetMeter 3P-600 | z3 Controls * AV A-12/ Security A-21 / UV A-53 | z3 Controls | AV A-12/ Security A-21 / UV A-53
NetMeter 3P-600 * z3 Controls * Balancing Pump | Forest Stewardship and Education Centre | SC-Well-Bal | Yes | NetMeter 3P-600 | z3 Controls * Balancing Pump | z3 Controls | Balancing Pump
NetMeter 3P-600 * z3 Controls * Biofilter Pump | Forest Stewardship and Education Centre | SC-Bio | Yes | NetMeter 3P-600 | z3 Controls * Biofilter Pump | z3 Controls | Biofilter Pump
NetMeter 3P-600 * z3 Controls * Ceiling Fans | Forest Stewardship and Education Centre | SC-Ceiling-Fans | Yes | NetMeter 3P-600 | z3 Controls * Ceiling Fans | z3 Controls | Ceiling Fans
NetMeter 3P-600 * z3 Controls * Chiller | Kingview Court |  | No
NetMeter 3P-600 * z3 Controls * Cistern System CT-1 | Forest Stewardship and Education Centre | SC-Cistern System CT-1 | Yes | NetMeter 3P-600 | z3 Controls * Cistern System CT-1 | z3 Controls | Cistern System CT-1
NetMeter 3P-600 * z3 Controls * Duct Heater DH1 (HRV) | Forest Stewardship and Education Centre | SC-DH1 | Yes | NetMeter 3P-600 | z3 Controls * Duct Heater DH1 (HRV) | z3 Controls | Duct Heater DH1 (HRV)
NetMeter 3P-600 * z3 Controls * Duct Heater DH2 (ERV) | Forest Stewardship and Education Centre | SC-DH2 | Yes | NetMeter 3P-600 | z3 Controls * Duct Heater DH2 (ERV) | z3 Controls | Duct Heater DH2 (ERV)
NetMeter 3P-600 * z3 Controls * ERV | Forest Stewardship and Education Centre | SC-ERV | Yes | NetMeter 3P-600 | z3 Controls * ERV | z3 Controls | ERV
NetMeter 3P-600 * z3 Controls * Exhaust Fans | Forest Stewardship and Education Centre | SC-Exhaust-Fan | Yes | NetMeter 3P-600 | z3 Controls * Exhaust Fans | z3 Controls | Exhaust Fans
NetMeter 3P-600 * z3 Controls * Exterior Lighting | Forest Stewardship and Education Centre | SC-Ext-Lighting | Yes | NetMeter 3P-600 | z3 Controls * Exterior Lighting | z3 Controls | Exterior Lighting
NetMeter 3P-600 * z3 Controls * FC-1 | Forest Stewardship and Education Centre | SC-FC-1 | Yes | NetMeter 3P-600 | z3 Controls * FC-1 | z3 Controls | FC-1
NetMeter 3P-600 * z3 Controls * HRV | Forest Stewardship and Education Centre | SC-HRV | Yes | NetMeter 3P-600 | z3 Controls * HRV | z3 Controls | HRV
NetMeter 3P-600 * z3 Controls * Incoming Electrical Service | Forest Stewardship and Education Centre | SC-MAIN | Yes | NetMeter 3P-600 | z3 Controls * Incoming Electrical Service | z3 Controls | Incoming Electrical Service
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Sutton Works Yard | G-013-B-MAIN | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Maple Health Centre | Maple-HC1 | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Southwest District Patrol Yard |  | No
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | South Services Centre | R022-B_SWBD-AAA | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | EMS Newmarket | N041-B-MAIN | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Newmarket Maintenance Centre | N038-B-SWBD | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | 194/200 Eagle Incoming | Newmarket-LTC-Main | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Administrative Centre | Switchboard AAA | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Newmarket Community Services | N003-B1-MAIN | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Bayview Operations Centre | N001-B1-MAIN | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Kingview Court |  | No
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service | Georgina Community Services | G026-B-PP-1 | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service A | 130 MULOCK DRIVE | N054-B-Service A | Yes
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service B | 130 MULOCK DRIVE |  | No
NetMeter 3P-600 * z3 Controls * Incoming Hydro Service C | 130 MULOCK DRIVE |  | No
NetMeter 3P-600 * z3 Controls * IncomingSubmetered Hydro Service | Armitage Gardens | Newmarket-Armatage | Yes
NetMeter 3P-600 * z3 Controls * Nature's Classroom | Forest Stewardship and Education Centre | SC-Nature-Class | Yes | NetMeter 3P-600 | z3 Controls * Nature's Classroom | z3 Controls | Nature's Classroom
NetMeter 3P-600 * z3 Controls * OU-1 | Forest Stewardship and Education Centre | SC-OU-1 | Yes | NetMeter 3P-600 | z3 Controls * OU-1 | z3 Controls | OU-1
NetMeter 3P-600 * z3 Controls * Panel C1 (Lighting) | Forest Stewardship and Education Centre | SC-Panel-C1 | Yes | NetMeter 3P-600 | z3 Controls * Panel C1 (Lighting) | z3 Controls | Panel C1 (Lighting)
NetMeter 3P-600 * z3 Controls * Panel C2 (Heating) | Forest Stewardship and Education Centre | SC-Panel-C2 | Yes | NetMeter 3P-600 | z3 Controls * Panel C2 (Heating) | z3 Controls | Panel C2 (Heating)
NetMeter 3P-600 * z3 Controls * Panel C3 (DHW) | Forest Stewardship and Education Centre | SC-Panel-C3 | Yes | NetMeter 3P-600 | z3 Controls * Panel C3 (DHW) | z3 Controls | Panel C3 (DHW)
NetMeter 3P-600 * z3 Controls * Panel C4 (Pumps) | Forest Stewardship and Education Centre | SC-Panel-C4 | Yes | NetMeter 3P-600 | z3 Controls * Panel C4 (Pumps) | z3 Controls | Panel C4 (Pumps)
NetMeter 3P-600 * z3 Controls * RTU-1 | Georgina Community Services | G26-B-RTU-1 | Yes
NetMeter 3P-600 * z3 Controls * RTU-2 | Georgina Community Services | G26-B-RTU-2 | Yes
NetMeter 3P-600 * z3 Controls * TX-1/Panel A | Forest Stewardship and Education Centre | SC-TX1 | Yes | NetMeter 3P-600 | z3 Controls * TX-1/Panel A | z3 Controls | TX-1/Panel A
NetMeter 3P-600 * z3 Controls * TX-3/Panel B | Forest Stewardship and Education Centre | SC-TX3 | Yes | NetMeter 3P-600 | z3 Controls * TX-3/Panel B | z3 Controls | TX-3/Panel B
NetMeter 3P-600 * z3 Controls * Vehicle Charger 1 | Forest Stewardship and Education Centre | SC-Charger-1 | Yes | NetMeter 3P-600 | z3 Controls * Vehicle Charger 1 | z3 Controls | Vehicle Charger 1
NetMeter 3P-600 * z3 Controls * Vehicle Charger 2 | Forest Stewardship and Education Centre | SC-Charger-2 | Yes | NetMeter 3P-600 | z3 Controls * Vehicle Charger 2 | z3 Controls | Vehicle Charger 2
NetMeter 3P-600 * z3 Controls * YR Data Centre UPS 1 | Administrative Centre | YR Data Centre UPS 1 | No
NetMeter 3P-600 * z3 Controls * YR Data Centre UPS 2 | Administrative Centre |  | No
NetMeter 3P-600 * z3 Controls * YRP Data Centre UPS 1 | Administrative Centre |  | No
NetMeter 3P-600 * z3 Controls * YRP Data Centre UPS 2 | Administrative Centre |  | No
NetMeter 3P-600 * z3 Controls * YRP Data Centre UPS 2 PDU 1 | Administrative Centre |  | No
NetMeter OMNI-8C * z3 Controls * N/A | Administrative Centre | N004-Pulse | Yes
NetMeter OMNI-8C * z3 Controls * N/A | YRT South West Maintenance Facility | V030-B-PULSE | Yes
NetMeter OMNI-8C * z3 Controls * Water Loads | Forest Stewardship and Education Centre | SC-Water-Gas | Yes | NetMeter OMNI-8C | z3 Controls * Water Loads | z3 Controls | Water Loads
NetMeter-3P-600 * z3 Controls * Incoming Hydro Service | Markham Health Services | M027-B-MAIN | Yes
NetMeter-3P-600-100 * Z3 Controls * Electric Snow Melt System | Vaughan Integrated Office Facility | Panel-SMPG3 | Yes

## Sheet3
1 | NetMeter 3P-600 | z3 Controls | AV A-12/ Security A-21 / UV A-53
2 | NetMeter 3P-600 | z3 Controls | Balancing Pump
3 | NetMeter 3P-600 | z3 Controls | Biofilter Pump
4 | NetMeter 3P-600 | z3 Controls | Ceiling Fans
5 | NetMeter 3P-600 | z3 Controls | Cistern System CT-1
6 | NetMeter 3P-600 | z3 Controls | Duct Heater DH1 (HRV)
7 | NetMeter 3P-600 | z3 Controls | Duct Heater DH2 (ERV)
8 | NetMeter 3P-600 | z3 Controls | ERV
9 | NetMeter 3P-600 | z3 Controls | Exhaust Fans
10 | NetMeter 3P-600 | z3 Controls | Exterior Lighting
11 | NetMeter 3P-600 | z3 Controls | FC-1
12 | NetMeter 3P-600 | z3 Controls | HRV
13 | NetMeter 3P-600 | z3 Controls | Incoming Electrical Service
14 | NetMeter 3P-600 | z3 Controls | Nature's Classroom
15 | NetMeter 3P-600 | z3 Controls | OU-1
16 | NetMeter 3P-600 | z3 Controls | Panel C1 (Lighting)
17 | NetMeter 3P-600 | z3 Controls | Panel C2 (Heating)
18 | NetMeter 3P-600 | z3 Controls | Panel C3 (DHW)
19 | NetMeter 3P-600 | z3 Controls | Panel C4 (Pumps)
20 | NetMeter 3P-600 | z3 Controls | TX-1/Panel A
21 | NetMeter 3P-600 | z3 Controls | TX-3/Panel B
22 | NetMeter 3P-600 | z3 Controls | Vehicle Charger 1
23 | NetMeter 3P-600 | z3 Controls | Vehicle Charger 2
24 | NetMeter OMNI-8C | z3 Controls | Water Loads